## Sheet1
Salsify ID | Catalog Number - Short Description | Short Description - en-US | salsify:parent_id
PP_DBL_EXT_CBL | -
NA1-1EEC | 1EEC - 120V DBL HEAD EXT CABLE | 120V DBL HEAD EXT CABLE | PP_DBL_EXT_CBL
NA1-1EAG/A | 1EAG/A - 120V EXT CABLE ISO GROUND | 120V EXT CABLE ISO GROUND | PP_DBL_EXT_CBL
GS_RMC_NPL_HDG | -
NA1-920033 | 920033 - "1/2"" X 16"" GALV CONDUIT N | "1/2"" X 16"" GALV CONDUIT N | GS_RMC_NPL_HDG
F4_WIP_END_EXT_CBL | -
NA1-1LBM-W | 1LBM-W - 120V LTG WHIP W/MOLEX | 120V LTG WHIP W/MOLEX | F4_WIP_END_EXT_CBL
NA1-2EA-W | 2EA-W - 277V EXT CABLE | 277V EXT CABLE | F4_WIP_END_EXT_CBL
NA1-1LC-W | 1LC-W - 120V LIGHTING WHIP | 120V LIGHTING WHIP | F4_WIP_END_EXT_CBL
NA1-2EB40-B-SC | 2EB40-B-SC - 10/3 MCT | 10/3 MCT | F4_WIP_END_EXT_CBL
NA1-1EA-W | 1EA-W - 120V EXT WHIP | 120V EXT WHIP | F4_WIP_END_EXT_CBL
NA1-1LBP-W | 1LBP-W - 120V LIGHTING WHIP W/PAULEX | 120V LIGHTING WHIP W/PAULEX | F4_WIP_END_EXT_CBL
NA1-1LB-W | 1LB-W - 20V LTG WHIP | 20V LTG WHIP | F4_WIP_END_EXT_CBL
NA1-3EAW3L90STRNG | 3EAW3L90STRNG - 16/2 FACC 3EA3-W-L90ST-RNG | 16/2 FACC 3EA3-W-L90ST-RNG | F4_WIP_END_EXT_CBL
NA1-2EC-W | 2EC-W - 277V EXT CABLE WHIP END | 277V EXT CABLE WHIP END | F4_WIP_END_EXT_CBL
NA1-1LCM-W | 1LCM-W - 120V LTG WHIP W/MOLEX | 120V LTG WHIP W/MOLEX | F4_WIP_END_EXT_CBL
NA1-1LAP-W | 1LAP-W - 120V LTG WHIP W/PAULEX | 120V LTG WHIP W/PAULEX | F4_WIP_END_EXT_CBL
NA1-1EB-W | 1EB-W - 120V EXT WHIP | 120V EXT WHIP | F4_WIP_END_EXT_CBL
NA1-1LCP-W | 1LCP-W - 120V LIGHTING WHIP W/PAULEX | 120V LIGHTING WHIP W/PAULEX | F4_WIP_END_EXT_CBL
F4_LTG_CBL | -
NA1-1LBP | 1LBP - 120V LIGHTING CABLE W/PAULEX | 120V LIGHTING CABLE W/PAULEX | F4_LTG_CBL
NA1-2LBM | 2LBM - 277V LIGHTING CABLE MOLEX | 277V LIGHTING CABLE MOLEX | F4_LTG_CBL
NA1-2LB | 2LB - 277V LIGHTING CABLE | 277V LIGHTING CABLE | F4_LTG_CBL
NA1-1LCP | 1LCP - 120V LIGHTING CABLE W/PAULEX | 120V LIGHTING CABLE W/PAULEX | F4_LTG_CBL
NA1-1LAM | 1LAM - 120V LIGHTING CABLE W/MOLEX | 120V LIGHTING CABLE W/MOLEX | F4_LTG_CBL
NA1-1LA | 1LA - 120V LIGHTING CABLE | 120V LIGHTING CABLE | F4_LTG_CBL
NA1-1LCM | 1LCM - 120V LIGHTING CABLE W/MOLEX | 120V LIGHTING CABLE W/MOLEX | F4_LTG_CBL
NA1-2LBP | 2LBP - 277V LIGHTING CABLE PAULEX | 277V LIGHTING CABLE PAULEX | F4_LTG_CBL
NA1-2LC | 2LC - 277V LIGHTING CABLE | 277V LIGHTING CABLE | F4_LTG_CBL
NA1-2LCP | 2LCP - 277V LIGHTING CABLE W/PAULEX | 277V LIGHTING CABLE W/PAULEX | F4_LTG_CBL
NA1-1LB | 1LB - 120V LIGHTING CABLE | 120V LIGHTING CABLE | F4_LTG_CBL
NA1-2LA | 2LA - 277V LIGHTING CABLE | 277V LIGHTING CABLE | F4_LTG_CBL
F4_DIST_CBL | -
NA1-H2LA | H2LA - HOLOPHANE | HOLOPHANE | F4_DIST_CBL
F3+_DBL_DIST_CBL | -
NA1-2DDC | 2DDC - 277V DBL HEAD DIST CABLE | 277V DBL HEAD DIST CABLE | F3+_DBL_DIST_CBL
NA1-2DDDA10-HV | 2DDDA10-HV - HIGH VOLTAGE | HIGH VOLTAGE | F3+_DBL_DIST_CBL
NA1-2DDB | 2DDB - 277V DBL HEAD DIST CABLE | 277V DBL HEAD DIST CABLE | F3+_DBL_DIST_CBL
F3+_DBL_EXT_CBL | -
NA1-2EEA | 2EEA - 277V DBL END EXT CABLE | 277V DBL END EXT CABLE | F3+_DBL_EXT_CBL
NA1-2EEC | 2EEC - 277V DBL END EXT CABLE | 277V DBL END EXT CABLE | F3+_DBL_EXT_CBL
NA1-2EEB | 2EEB - 277V DBL END EXT CABLE | 277V DBL END EXT CABLE | F3+_DBL_EXT_CBL
F4_SW_MOD | -
NA1-1SA | 1SA - 120V SWITCH MODULE | 120V SWITCH MODULE | F4_SW_MOD
NA1-2SA | 2SA - 277V SWITCH MODULE | 277V SWITCH MODULE | F4_SW_MOD
NA1-1SC | 1SC - 120V SWITCH MODULE | 120V SWITCH MODULE | F4_SW_MOD
NA1-2SB | 2SB - 277V SWITCH MODULE | 277V SWITCH MODULE | F4_SW_MOD
NA1-2SC | 2SC - 277V SWITCH MODULE | 277V SWITCH MODULE | F4_SW_MOD
F4_WIP_END_LTG_CBL | -
NA1-2LBM-W | 2LBM-W - 277V LIGHTING CABLE WHIP END | 277V LIGHTING CABLE WHIP END | F4_WIP_END_LTG_CBL
NA1-2LC-W | 2LC-W - 277V WHIP END LIGHTING CABLE | 277V WHIP END LIGHTING CABLE | F4_WIP_END_LTG_CBL
NA1-2LA-W | 2LA-W - 277V WHIP END LIGHTING CABLE | 277V WHIP END LIGHTING CABLE | F4_WIP_END_LTG_CBL
NA1-2LB-W | 2LB-W - 277V WHIP END LIGHTING CABLE | 277V WHIP END LIGHTING CABLE | F4_WIP_END_LTG_CBL
MECH-FLOCOAT | -
NA1-922320 | 922320 - ! ZCW 5.00 11 93.00 P HEX | ! ZCW 5.00 11 93.00 P HEX | MECH-FLOCOAT
F4_EXT_CBL | -
NA1-1EBG | 1EBG - 120V EXT CABLE | 120V EXT CABLE | F4_EXT_CBL
NA1-2LAP | 2LAP - 277V LIGHTING CABLE W/PAULEX | 277V LIGHTING CABLE W/PAULEX | F4_EXT_CBL
NA1-1EAG | 1EAG - 120V EXT CABLE ISO GROUND | 120V EXT CABLE ISO GROUND | F4_EXT_CBL
NA1-2EB-W | 2EB-W - 277V EXT WHIP | 277V EXT WHIP | F4_EXT_CBL
MECH-GATOR | -
NA1-922309 | 922309 - !GTRCW 4SQX10X468.5 Y SQ SSG50 | !GTRCW 4SQX10X468.5 Y SQ SSG50 | MECH-GATOR